{"text_format":"1","workbook":"xlsx","n_sheets":3,"sheets":["CFG","List1","List2"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":10,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"CFG","index":0,"n_rows":7,"n_cols":6,"rows_kept":7,"cut":false,"hidden":true,"merged":[]}
["Cesta pro uložení:","\\\\sunpchmplp01.ug.cz\\CRC\\Kontrol_listy\\",null,null,null,"cptVS"]
["Jméno souboru:","Sprchy_bazény_P3"]
["Rozšíření jména:","YYMMDDHHmm"]
["Formát pro uloření:",43,"56 - Excel 97-2003"]
["Extenze pro uloření:","xlsm","xlsx"]
["Změna v sešitu","A"]
[null,"S:\\Vitek\\cpt\\"]

{"sheet":"List1","index":1,"n_rows":24,"n_cols":7,"rows_kept":24,"cut":false,"hidden":false,"merged":[[0,0,0,6],[1,1,1,6],[22,6,24,7]]}
["Kontrolní list bezpečnostních sprch (bazénů) na P3"]
[null,"(kontrola vždy odpolední 1.středu v měsíci)"]
["Číslo bezp. Sprchy","Přístupnost","Označení ","Funkce nášlapu","Tlak vody","Kompletnost zařízení","Kontroloval"]
["34/5","Ano",null,null,null,"Ano"]
["35/1","Ano",null,null,null,"Ano"]
["35/2","Ano",null,null,null,"Ano"]
["45/1","Ano",null,null,null,"Ano"]
["56/1","Ano",null,null,null,"Ano"]
["56/2","Ano",null,null,null,"Ano"]
["57/1","Ano",null,null,null,"Ano"]
["64/1","Ano",null,null,null,"Ano"]
["65/1","Ano",null,null,null,"Ano"]
["67/1","Ano",null,null,null,"Ano"]
["67/2","Ano",null,null,null,"Ano"]
["69/1","Ano",null,null,null,"Ano"]
["69/2","Ano",null,null,null,"Ano"]
["69/3","Ano",null,null,null,"Ano"]
[]
["Číslo bezp. Bazénu","Přístupnost","Označení ","Zimní opatření","Teplota vody (odhad)","Kompletnost zařízení","Kontroloval"]
["3365/1","Ano",null,null,null,"Ano"]
["4613/1","Ano",null,null,null,"Ano"]
["Datum vyplnění:",null,null,"Vyplnil:"]
[]
["Mistr směny (svým podpisem stvrzuje věcnou správnost a zajištění opravy nalezených závad)"]

{"sheet":"List2","index":2,"n_rows":16,"n_cols":2,"rows_kept":16,"cut":false,"hidden":false,"merged":[]}
[]
["34/5","st.3463"]
["35/1","st.3524"]
["35/2","st.3534"]
["43/2","st.4338"]
["45/1","st.4536"]
["56/1","st.5603"]
["56/2"]
["57/1"]
["64/1"]
["65/1"]
["67/1"]
["67/2","st.6736"]
["69/1"]
["69/2"]
["69/3"]