{"text_format":"1","workbook":"xlsx","n_sheets":1,"sheets":["OPH"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"OPH","index":0,"n_rows":25,"n_cols":3,"rows_kept":25,"cut":false,"hidden":false,"merged":[]}
["OPH login parameters"]
[]
["Parameters","Values","Remarks"]
["Data source:","DROP172","required"]
["ID:"]
["User (owner):"]
["Password:"]
["Location:"]
[]
["Reading tag value and unit"]
["Parameters","Values","Remarks"]
["Tag name:","40MYA01DU005K_YQ10.UNIT4@UNIT4","required"]
["Timestamp (start):",null,"required"]
[]
[]
[]
[]
["Instructions"]
["1. At the beginning, allow the usage of macros"]
["2. Press ALT+F11 to view VBA nacros"]
["3. See module1 to explore macros \"TestLogin\" and \"StartReading\""]
["4. To debug a macro, click on a respective command line and then press \"F9\""]
["5. Enter login parameters and then press the \"Test login\" button"]
["6. Continue until the OPC sever is logged (possibly update a connection string in \"LoginOPHServerAdo\")"]
["7. When logging is a success, try to read (hourly) value and enginnering unit for given tag and timestamp"]